## Slide 1: Developing a Code for Weigh-in-Motion (WIM) Systems
Tina G. Butcher
National Institute of Standards & Technology (NIST)
Weights & Measures Division (WMD)
September 2011
Talking Freight Seminar

## Slide 2: Overview
Federal Highway Administration (FHWA) WIM Work Group (WG) Objective
About NIST
NIST Handbook 44 (HB-44)
  Purpose
  Scope
  Adoption
  Organization
WG Development of a Draft WIM Code
Proposing Adoption into NIST HB-44

## Slide 3: FHWA WIM WG Objective
Develop a new draft WIM scale systems code (standard) to apply to WIM scale systems that are used to preselect (or screen) commercial vehicles for possible overweight violations
Intended for possible inclusion into NIST HB-44

## Slide 4: About NIST
Non-regulatory agency of the U.S. Dept. of Commerce
  Formerly National Bureau of Standards (NBS)
WMD has a legal responsibility to promote uniform standards of weights and measures within the U.S. to facilitate commerce
Authorized to work in cooperation with States and private sector to develop uniform laws, regulations, device requirements, and test procedures
Publishes NIST HB-44 annually

## Slide 5: What is NIST HB-44?
A comprehensive set of requirements for weighing and measuring devices used in commerce and law enforcement
  To eliminate from commercial use weighing and measuring devices that give inaccurate results or facilitate fraud
Published by NIST
  Promote uniformity in weights and measures laws and regulations
  First published in 1918 as “NBS Misc. Publication Number 1”
  Published in 1949 for the first time as “NBS Handbook 44” and periodically updated thereafter

## Slide 6: Scope of HB-44 – General Code G-A.1. Application
Devices Used in “Commercial” Service
  Used to buy or sell commodities
  Used to determine a charge for services rendered based upon weight or measure
Any Accessory to a Commercial Device
  Cash Registers, Printers, Scanners, etc.
Devices Used in Law Enforcement
  Wheel-load weighers, axle-load scales, single and multi-platform vehicle scale systems, etc.

## Slide 7: NIST HB-44 Requirements
Are not federal requirements
Have no legal status unless they are adopted into the laws and regulations of a State, local jurisdiction, or Federal agency
Based upon proposals developed through and adopted by the National Conference on Weights and Measures (NCWM)
  Composed of regulatory officials, device manufacturers, equipment users, and other interested parties
  Only regulatory officials vote on proposals
  Any member can provide input and comment

## Slide 8: Adoption of HB-44
Most states adopt by reference through their Weights and Measures Law
  NIST Handbook 130, Section 4
  Some states adopt an earlier version
  Some states incorporate into regulation
Some states also adopt by reference through their Transportation Law
Adopted by all States for commercial weights and measures applications

## Slide 9: HB-44 Organization - Overview
Introduction
General Code
  applies to all devices
Specific Codes
  applies to the same class or type of device
Appendices
  Fundamental Considerations
    Uniformity, Theory of Tolerances, Application of Tolerances, Testing Equipment, Inspection Considerations, Actions of Equipment, Rounding Rules
  Units and Systems
  Tables of Units of Measurement
  Definitions

## Slide 10: HB-44 Organization – Code Sections
Section 1. - 1.10. General Code
  One code applicable to all devices
Section 2. - Codes 2.20.-2.24.
  (5) device codes applicable to weighing devices
Section 3. - Codes 3.30.-3.38.
  (9) device codes applicable to measuring devices
Section 4. - Codes 4.40.-4.46.
  (7) device codes applicable to capacity measures
Section 5. – Codes 5.50.-5.58.
  (9) device codes applicable to other types of devices

## Slide 11: HB-44 Organization - Paragraph Designations
Within each Code, requirements are grouped together in “Sections”
  A – Application
    Specifies the type of devices to which the code applies and to which it does not apply
  S – Specifications
    Relates to the design of the equipment
    Directed particularly to the manufacturer of the device
  N – Notes
    Applies to the official testing of devices

## Slide 12: HB-44 Organization Para. Designations (cont.)
Additional Sections within Codes:
  T – Tolerances
    Fix the limits of allowable error or departure from true performance value
  UR – Users Requirements
    Apply to selection, installation, use, and maintenance of devices
    Directed particularly to the owner or operator

## Slide 13: FHWA WG Development of a WIM Code
First draft of a code (a “straw man”) has been developed and distributed
  Uses H44 format
Define and agree upon the scope of the new code
  A. Application
Develop requirements for each of the remaining code sections:
  S. Specifications
  N. Notes
  T. Tolerances
  UR. User Requirements
Refine code through an iterative process:
  Build upon current state-of-knowledge in existing WIM scale system standards
    ASTM 1318-09 is anticipated to be particularly useful
    Be consistent with NIST Handbook 44 format and content requirements
  Obtain input from stakeholders
  Discuss the issues and input received
  Modify draft as needed
  Achieve consensus

## Slide 14: Proposing Adoption into NIST HB-44
Submit a final draft code to the NCWM to consider for inclusion in NIST HB-44
Established process
  Proposal supported by at least one regional weights and measures association is advanced to the national level
NCWM Specifications & Tolerances Committee (S&T) reviews and makes recommendations
  Developing, Information, Voting, Withdrawn
  Input received through open hearings and in writing
S&T currently includes “Developing Item” on WIM Work Group

## Slide 15: Summary
NIST publishes NIST HB-44 to promote uniformity
  Widely adopted for commercial weights and measures
  Some highway weight enforcement agencies also adopt
FHWA established a Work Group to develop a Code for WIM scale systems used for screening purposes in highway weight enforcement
  Ultimate goal is adoption into NIST HB-44
Actively seek input from stakeholders in the WIM community
    Regulatory officials
    Manufacturers
    Device users
    Others
Final draft code will be submitted to NCWM for consideration
  Additional opportunity for review and comment

## Slide 16: Questions??
NIST, Weights & Measures Division (WMD)
100 Bureau Drive – Stop 2600
Gaithersburg, MD 20899-2600
Fax: 301-975-8091
NIST WMD Web Site:
www.nist.gov/owm
Rick Harshman (primary NIST contact)
E-mail: richard.harshman@nist.gov
Tel: 301-975-8107
Tina G. Butcher
E-mail: tbutcher@nist.gov
Tel: 301-975-2196